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Report To:
	Connecticut Pharmaceutical Solutions
	
	Date Received:
	12/08/2015

	Attn:  Rino Ferrarese
	
	Date Tested:
	12/08/2015

	47 Lower Main St
	
	Laboratory Report#:
	N1564541 - 13

	Portland  CT  06480
	
	Report Date:
	12/16/2015

	
	
	
	

	E-Mail:  rino.ferrarese@ctpharma.com
	
	
	


NOTE: CANNABINOIDS per  Lab. Rpt#1564600-08 =STK-C sample
(as rc’d 12/15/15) = see page #6

	Sample Site:
	CONNECTICUT  PHARMACEUTICAL  SOLUTIONS
· 47 LOWER MAIN STREET,  PORTLAND  CT

	Date  Collected:
	12/08/2015  10:10

	Collected by:
	CA of NELabs

	Laboratory ID #:
	1564541 - 13

	Product Description:
	STK 090215



	Parameter
	Result
	Units
	
	Recommended Limits *

	Total Aerobic Microbial Count
	<100
	per gram
	PASS
	100,000

	Total Yeast & Mold Count
	<100
	per gram
	PASS
	10,000

	
	
	
	
	

	Bile Tolerant Gram Negative Bacteria
	<100
	per gram
	PASS
	1,000

	Coliform
	<100
	per gram
	PASS
	1,000

	Enteropathogenic E.coli
	Not Detected
	per gram
	PASS
	Not Detected

	Salmonella species
	Not Detected
	per gram
	PASS
	Not Detected



* RECOMMENDED LIMITS:  per American Herbal Pharmacopoeia (2013)

PASS =  Product meets Microbial and Fungal Recommended Limits 
per American Herbal Pharmacopoeia  (2013)

METHODS:	USP 2021,  USP 2022,   FDA-BAM,  AOAC 996.09

Comments:
· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  12/08/2015

Approved  By:[image: Signature 2 jpg]
Alan C. Johnson,  Laboratory Director



Report To:
	Connecticut Pharmaceutical Solutions
	
	Date Received:
	12/08/2015

	Attn:  Rino Ferrarese
	
	Date Tested:
	12/15/2015

	47 Lower Main St
	
	Laboratory Report#:
	N1564541 - 13

	Portland  CT  06480
	
	Report Date:
	12/16/2015

	
	
	
	

	E-Mail:  rino.ferrarese@ctpharma.com
	
	
	




	Sample Site:
	CONNECTICUT  PHARMACEUTICAL  SOLUTIONS
· 47 LOWER MAIN STREET,  PORTLAND  CT

	Date  Collected:
	12/08/2015  10:10

	Collected by:
	CA of NELabs

	Laboratory ID #:
	1564541 - 13

	Product Description:
	STK 090215



	HEAVY METALS:
	
	
	
	

	Parameter
	Result
	Units
	
	Limits

	Arsenic, Total
	<0.0005
	µg/kg BW/day
	PASS
	<0.14

	Cadmium, Total
	<0.002
	µg/kg BW/day
	PASS
	<0.09

	Lead, Total
	<0.002
	µg/kg BW/day
	PASS
	<0.29

	Mercury, Total
	<0.005
	µg/kg BW/day
	PASS
	<0.29



Daily Dose:	1 gram
Body Weight:	50 kilograms

METHODS:	USP <232> and <233> (Modified)
			AOAC  986.15,  935.50,  971.21
			FCC 7,  Appendix 3

LIMITS:  per American Herbal Pharmacopoeia (2013)

PASS =  Product meets Heavy Metals Recommended Limits 
per American Herbal Pharmacopoeia  (2013)


Comments:
· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  12/08/2015

Approved  By:[image: Signature 2 jpg]
Alan C. Johnson,  Laboratory Director



Report To:
	Connecticut Pharmaceutical Solutions
	
	Date Received:
	12/08/2015

	Attn:  Rino Ferrarese
	
	Date Tested:
	12/15/2015

	47 Lower Main St
	
	Laboratory Report#:
	N1564541 - 13

	Portland  CT  06480
	
	Report Date:
	12/16/2015

	
	
	
	

	E-Mail:  rino.ferrarese@ctpharma.com
	
	
	




	Sample Site:
	CONNECTICUT  PHARMACEUTICAL  SOLUTIONS
· 47 LOWER MAIN STREET,  PORTLAND  CT

	Date  Collected:
	12/08/2015  10:10

	Collected by:
	CA of NELabs

	Laboratory ID #:
	1564541 - 13

	Product Description:
	STK 090215




	TERPENE PROFILE
(% Dry Weight)
	Result
	Units

	
	
	

	Monoterpenoids
	
	

	a-pinene
	0.08
	%

	b-pinene
	0.10
	%

	b-myrcene
	0.56
	%

	limonene
	0.60
	%

	ocimene
	---
	%

	terpinolene
	0.06
	%

	linalool
	0.07
	%

	Sesquiterpenoids
	
	

	b-caryophyllene
	0.30
	%

	humulene
	0.90
	%

	trans-nerolidol
	---
	%

	caryophyllene oxide
	---
	%

	b-eudesmol
	---
	%




METHODS:	GC,  GC/MS

Comments:
· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  12/08/2015

1Approved  By:[image: Signature 2 jpg]
Alan C. Johnson, Laboratory Director



Report To:
	Connecticut Pharmaceutical Solutions
	
	Date Received:
	12/08/2015

	Attn:  Rino Ferrarese
	
	Date Tested:
	12/15/2015

	47 Lower Main St
	
	Laboratory Report#:
	N1564541 - 13

	Portland  CT  06480
	
	Report Date:
	12/16/2015

	
	
	
	

	E-Mail:  rino.ferrarese@ctpharma.com
	
	
	




	Sample Site:
	CONNECTICUT  PHARMACEUTICAL  SOLUTIONS
· 47 LOWER MAIN STREET,  PORTLAND  CT

	Date  Collected:
	12/08/2015  10:10

	Collected by:
	CA of NELabs

	Laboratory ID #:
	1564541 - 13

	Product Description:
	STK 090215



	PESTICIDES  LC  (MS/MS)
	
	
	
	

	Parameter
	Result
	Units
	
	Limits

	Abamectin
	<0.01
	mg/kg
	PASS
	15

	Acequinocyl
	<0.01
	mg/kg
	PASS
	14

	Azadiractin
	<0.01
	mg/kg
	PASS
	60

	Bifenazate
	<0.01
	mg/kg
	PASS
	6

	Bifenthrin
	<0.01
	mg/kg
	PASS
	12

	Chlormequat Chloride
	<0.01
	mg/kg
	PASS
	30

	Cyfluthrin
	<0.01
	mg/kg
	PASS
	12

	Daminozide
	<0.01
	mg/kg
	PASS
	270

	Etoxazole
	<0.01
	mg/kg
	PASS
	24

	Fenoxycarb
	<0.01
	mg/kg
	PASS
	32

	Imazalil
	<0.01
	mg/kg
	PASS
	6

	Imidacloprid
	<0.01
	mg/kg
	PASS
	36

	Myclobutanil
	<0.01
	mg/kg
	PASS
	18

	Paclobutrazol
	<0.01
	mg/kg
	PASS
	13

	Pyrethrum
	<0.01
	mg/kg
	PASS
	3

	Spinosad
	<0.01
	mg/kg
	PASS
	12

	Spiromesifen
	<0.01
	mg/kg
	PASS
	15

	Spirotetramat
	<0.01
	mg/kg
	PASS
	30

	Trifloxystrobin
	<0.01
	mg/kg
	PASS
	60



					LOQ = 1.0  µg/kg     LOD = 0.1 µg/kg     

METHODS:	LC – MS/MS   (Restek Method)

LIMITS:  per FAO - WHO

Comments:
· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  12/08/2015
Approved  By:[image: Signature 2 jpg]
Alan C. Johnson, Laboratory Director



Report To:
	Connecticut Pharmaceutical Solutions
	
	Date Received:
	12/08/2015

	Attn:  Rino Ferrarese
	
	Date Tested:
	12/14/2015

	47 Lower Main St
	
	Laboratory Report#:
	N1564541 - 13

	Portland  CT  06480
	
	Report Date:
	12/16/2015

	
	
	
	

	E-Mail:  rino.ferrarese@ctpharma.com
	
	
	




	Sample Site:
	CONNECTICUT  PHARMACEUTICAL  SOLUTIONS
· 47 LOWER MAIN STREET,  PORTLAND  CT

	Date  Collected:
	12/08/2015  10:10

	Collected by:
	CA of NELabs

	Laboratory ID #:
	1564541 - 13

	Product Description:
	STK 090215




	MYCOTOXINS
	
	
	
	

	Parameter
	Result
	Units
	
	Limits

	Method:  USP 561-II
	
	
	
	

	Aflatoxin B1
	<5
	µg/kg
	PASS
	5

	Aflatoxin B2
	<5
	µg/kg
	PASS
	5

	Aflatoxin G1
	<5
	µg/kg
	PASS
	5

	Aflatoxin G2
	<5
	µg/kg
	PASS
	5

	
	
	
	
	

	Method:  USP 561-II (Mod)
	
	
	
	

	Ochratoxin-A
	<5
	µg/kg
	PASS
	5

	
	
	
	
	




METHODS:	USP <561>
Articles of Botanical Origin:  Aflatoxins Method 2 (modified for Ochratoxin)

LIMITS:  per American Herbal Pharmacopoeia (2013)

Comments:
· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  12/08/2015
Approved  By:[image: Signature 2 jpg]
Alan C. Johnson, Laboratory Director



Report To:
	Connecticut Pharmaceutical Solutions
	
	Date Received:
	12/15/2015

	Attn:  Rino Ferrarese
	
	Date Tested:
	12/11/2015

	47 Lower Main St
	
	Laboratory Report#:
	N1564541 – 11
 == per N154600-08

	Portland  CT  06480
	
	Report Date:
	12/16/2015

	
	
	
	

	E-Mail:  rino.ferrarese@ctpharma.com
	
	
	


NOTE: CANNABINOIDS per  Lab. Rpt#1564600-08=STK-C sample
(as rc’d 12/15/15) = see below)

	Sample Site:
	CONNECTICUT  PHARMACEUTICAL  SOLUTIONS
· 47 LOWER MAIN STREET,  PORTLAND  CT

	Date  Collected:
	12/15/2015  10:55

	Collected by:
	CA of NELabs

	Laboratory ID #:
	1564541 – 11  == Results per 1564600-08

	Product Description:
	STK 090215  ==  STK-C, PER 12/15/15 #156400-08



	CANNABINOIDS
	#1564600-08 =STK-C (12/15/15)
	

	  (% weight)
	Result
	Units

	CBDV
	----
	% weight

	CBDA
	0.09
	% weight

	CBGA
	0.70
	% weight

	CBG
	----
	% weight

	CBD
	----
	% weight

	THCV
	----
	% weight

	CBN
	----
	% weight

	THC
	1.54
	% weight

	CBC
	----
	% weight

	THCA
	22.58
	% weight



METHODS:	HPLC

Comments:
· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  12/08/2015

Approved  By:[image: Signature 2 jpg]
Alan C. Johnson,  Laboratory Director
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