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Report To:

	Curaleaf LLC
	
	Date Received:
	04/24/2017

	Attn:  Todd Levy
	
	Date Tested:
	04/24/2017

	100 Grist Mill
Simsbury, CT  06070

	
	Laboratory Report#:
	N1769771-02

	E-Mail:  todd@curaleaf.com 
	
	Report Date:
	05/01/2017

	
	
	
	

	Sample Site:
	Curaleaf
· 100 Grist Mill Rd,  Simsbury CT

	Date  Collected:
	04/24/2017     9:45
Collected by:  C. Appell of NELabs

	Laboratory ID #:
	1769771 – 02

	Product Description:
	1704048F – SC


	Parameter
	Result
	Units
	
	Recommended Limits *

	Total Aerobic Microbial Count
	1,400
	per gram
	PASS
	100,000

	Total Yeast & Mold Count
	1,100
	per gram
	PASS
	10,000

	
	
	
	
	

	Bile Tolerant Gram Negative Bacteria
	<100
	per gram
	PASS
	1,000

	Coliform
	<100
	per gram
	PASS
	1,000

	Enteropathogenic E.coli
	Not Detected
	per gram
	PASS
	Not Detected

	Salmonella species
	Not Detected
	per gram
	PASS
	Not Detected


* RECOMMENDED LIMITS:  per American Herbal Pharmacopoeia (2013)

PASS =  Product meets Microbial and Fungal Recommended Limits 

per American Herbal Pharmacopoeia  (2013)

METHODS:
USP 2021,  USP 2022,   FDA-BAM,  AOAC 996.09

Comments:

· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  04/24/2017
Approved  By:[image: image1.jpg]@MCM




Alan C. Johnson,  Laboratory Director

Report To:

	Curaleaf LLC
	
	Date Received:
	04/24/2017

	Attn:  Todd Levy
	
	Date Tested:
	04/27 – 4/28 2017

	100 Grist Mill

Simsbury, CT  06070


	
	Laboratory Report#:
	N1769771-02

	E-Mail:  todd@curaleaf.com 
	
	Report Date:
	05/01/2017

	
	
	
	

	Sample Site:
	Curaleaf
· 100 Grist Mill Rd,  Simsbury CT

	Date  Collected:
	04/24/2017     9:45
Collected by:  C. Appell of NELabs

	Laboratory ID #:
	1769771 – 02

	Product Description:
	1704048F – SC


	HEAVY METALS:
	
	
	
	

	Parameter
	Result
	Units
	
	Limits

	Arsenic, Total
	<0.0005
	µg/kg BW/day
	PASS
	<0.14

	Cadmium, Total
	<0.002
	µg/kg BW/day
	PASS
	<0.09

	Lead, Total
	<0.002
	µg/kg BW/day
	PASS
	<0.29

	Mercury, Total
	<0.005
	µg/kg BW/day
	PASS
	<0.29


Daily Dose:
1 gram
Body Weight:
50 kilograms
METHODS:
USP <232> and <233> (Modified)




AOAC  986.15,  935.50,  971.21




FCC 7,  Appendix 3

LIMITS:  per American Herbal Pharmacopoeia (2013)

PASS =  Product meets Heavy Metals Recommended Limits 

per American Herbal Pharmacopoeia  (2013)

Comments:

· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  04/24/2017
Approved  By:[image: image2.jpg]@MCM




Alan C. Johnson,  Laboratory Director

Report To:

	Curaleaf LLC
	
	Date Received:
	04/24/2017

	Attn:  Todd Levy
	
	Date Tested:
	04/27/2017

	100 Grist Mill

Simsbury, CT  06070


	
	Laboratory Report#:
	N1769771-02

	E-Mail:  todd@curaleaf.com 
	
	Report Date:
	05/01/2017

	
	
	
	

	Sample Site:
	Curaleaf
· 100 Grist Mill Rd,  Simsbury CT

	Date  Collected:
	04/24/2017     9:45
Collected by:  C. Appell of NELabs

	Laboratory ID #:
	1769771 – 02

	Product Description:
	1704048F – SC


	TERPENES 

(% Dry Weight)
	Result
	Units

	a-pinene
	2.20
	%

	b-pirene
	0.99
	%

	b-myrcene
	---
	%

	limonene
	0.26
	%

	ocimene
	---
	%

	linalool
	---
	%

	b-caryophyllene
	0.08
	%

	humulene
	---
	%

	
	
	


METHODS:
GC,  GC/MS
Comments:

· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  04/24/2017

Approved  By:[image: image3.jpg]@MCM




Alan C. Johnson, Laboratory Director
Report To:

	Curaleaf LLC
	
	Date Received:
	04/24/2017

	Attn:  Todd Levy
	
	Date Tested:
	04/24/2017

	100 Grist Mill

Simsbury, CT  06070


	
	Laboratory Report#:
	N1769771-02

	E-Mail:  todd@curaleaf.com 
	
	Report Date:
	05/01/2017

	
	
	
	

	Sample Site:
	Curaleaf
· 100 Grist Mill Rd,  Simsbury CT

	Date  Collected:
	04/24/2017     9:45
Collected by:  C. Appell of NELabs

	Laboratory ID #:
	1769771 – 02

	Product Description:
	1704048F – SC


	PESTICIDES  LC  (MS/MS)
	
	
	
	

	Parameter
	Result
	Units
	
	Limits

	Abamectin
	<0.01
	mg/kg
	PASS
	15

	Acequinocyl
	<0.01
	mg/kg
	PASS
	14

	Azadiractin
	<0.01
	mg/kg
	PASS
	60

	Bifenazate
	<0.01
	mg/kg
	PASS
	6

	Bifenthrin
	<0.01
	mg/kg
	PASS
	12

	Chlormequat Chloride
	<0.01
	mg/kg
	PASS
	30

	Cyfluthrin
	<0.01
	mg/kg
	PASS
	12

	Daminozide
	<0.01
	mg/kg
	PASS
	270

	Etoxazole
	<0.01
	mg/kg
	PASS
	24

	Fenoxycarb
	<0.01
	mg/kg
	PASS
	32

	Imazalil
	<0.01
	mg/kg
	PASS
	6

	Imidacloprid
	<0.01
	mg/kg
	PASS
	36

	Myclobutanil
	<0.01
	mg/kg
	PASS
	18

	Paclobutrazol
	<0.01
	mg/kg
	PASS
	13

	Pyrethrum
	<0.01
	mg/kg
	PASS
	3

	Spinosad
	<0.01
	mg/kg
	PASS
	12

	Spiromesifen
	<0.01
	mg/kg
	PASS
	15

	Spirotetramat
	<0.01
	mg/kg
	PASS
	30

	Trifloxystrobin
	<0.01
	mg/kg
	PASS
	60







LOQ = 1.0  µg/kg     LOD = 0.1 µg/kg     

METHODS:
LC – MS/MS   (Restek Method)

LIMITS:  per FAO - WHO

Comments:

· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  04/24/2017

Approved  By:[image: image4.jpg]@MCM




Alan C. Johnson, Laboratory Director

Report To:

	Curaleaf LLC
	
	Date Received:
	04/24/2017

	Attn:  Todd Levy
	
	Date Tested:
	04/24/2017

	100 Grist Mill

Simsbury, CT  06070


	
	Laboratory Report#:
	N1769771-02

	E-Mail:  todd@curaleaf.com 
	
	Report Date:
	05/01/2017

	
	
	
	

	Sample Site:
	Curaleaf
· 100 Grist Mill Rd,  Simsbury CT

	Date  Collected:
	04/24/2017     9:45
Collected by:  C. Appell of NELabs

	Laboratory ID #:
	1769771 – 02

	Product Description:
	1704048F – SC


	MYCOTOXINS
	
	
	
	

	Parameter
	Result
	Units
	
	Limits

	Method:  USP 561-II
	
	
	
	

	Aflatoxin B1
	<5
	µg/kg
	PASS
	5

	Aflatoxin B2
	<5
	µg/kg
	PASS
	5

	Aflatoxin G1
	<5
	µg/kg
	PASS
	5

	Aflatoxin G2
	<5
	µg/kg
	PASS
	5

	
	
	
	
	

	Method:  USP 561-II (Mod)
	
	
	
	

	Ochratoxin-A
	<5
	µg/kg
	PASS
	5

	
	
	
	
	


METHODS:
USP <561>

Articles of Botanical Origin:  Aflatoxins Method 2 (modified for Ochratoxin)

LIMITS:  per American Herbal Pharmacopoeia (2013)

Comments:

· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  04/24/2017

Approved  By:[image: image5.jpg]@MCM




Alan C. Johnson, Laboratory Director

Report To:

	Curaleaf LLC
	
	Date Received:
	04/24/2017

	Attn:  Todd Levy
	
	Date Tested:
	04/25/2017

	100 Grist Mill

Simsbury, CT  06070


	
	Laboratory Report#:
	N1769771-02

	E-Mail:  todd@curaleaf.com 
	
	Report Date:
	05/01/2017

	
	
	
	

	Sample Site:
	Curaleaf
· 100 Grist Mill Rd,  Simsbury CT

	Date  Collected:
	04/24/2017     9:45
Collected by:  C. Appell of NELabs

	Laboratory ID #:
	1769771 – 02

	Product Description:
	1704048F – SC


	
	
	

	CANNABINOIDS  (% weight)
	Result
	Units

	CBDV
	----
	% weight

	CBDA
	----
	% weight

	CBGA
	0.30
	% weight

	CBG
	0.25
	% weight

	CBD
	----
	% weight

	THCV
	----
	% weight

	CBN
	0.07
	% weight

	THC
	1.04
	% weight

	CBC
	0.08
	% weight

	THCA
	25.85
	% weight


METHODS:
HPLC

Comments:

· Results are based on an average of 5 samples (A-B-C-D-E) submitted to Northeast Laboratories, Inc. on:  04/24/2017

Approved  By:[image: image6.jpg]@MCM




Alan C. Johnson,  Laboratory Director
Northeast Laboratories, Inc.  129 Mill Street Berlin, CT  06037   www.nelabsct.com
Telephone:    860-828-9787      Toll Free (In State) 800-826-0105      (Out of State) 800-654-1230      Fax: 860-829-1050

CT Cert. #PH-0404     EPA Cert. #CT-024     USDA Cert. #0976     FDA Reg. #086650488     DEA Reg.:  Federal #RN0281852 + CT #624
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