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Report To:

	ADVANCED GROW  LABS
	
	Date Received:
	09/28/2018

	Attn:  Elaine Lonergan
	
	Date Tested:
	10/01/2018

	400 Frontage Rd
West Haven, CT  06516


	
	Laboratory Report#:
	N1875251-01

	E-Mail:  elonergan@adancedgrowlabs.com
	
	Report Date:
	10/12/2018

	
	
	
	

	Sample Site:
	Advanced Grow Labs
· 400 Frontage Rd.,  West Haven CT

	Date  Collected:
	09/28/2018   11:23      Collected by:  W. Clark of NELabs

	Laboratory ID #:
	1875251-01

	Product Description:
	HC-F9H2-180928-SH


	Parameter
	Result
	Units
	
	Recommended Limits *

	Total Aerobic Microbial Count
	<100
	per gram
	PASS
	100,000

	Total Yeast & Mold Count 

	<100
	per gram
	PASS
	10,000

	
	
	
	
	

	Bile Tolerant Gram Negative Bacteria
	<100
	per gram
	PASS
	1,000

	Coliform
	<100
	per gram
	PASS
	1,000

	Enteropathogenic E.coli
	Not Detected
	per gram
	PASS
	Not Detected

	Salmonella species
	Not Detected
	per gram
	PASS
	Not Detected


* RECOMMENDED LIMITS:  per American Herbal Pharmacopoeia (2013)

PASS =  Product meets Microbial and Fungal Recommended Limits 

per American Herbal Pharmacopoeia  (2013)

METHODS:
USP 2021,  USP 2022,   FDA-BAM,  AOAC 996.09

Comments:

· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  09/28/2018
Approved  By:[image: image1.jpg]@MCM




Alan C. Johnson,  Laboratory Director

Report To:

	ADVANCED GROW  LABS
	
	Date Received:
	09/28/2018

	Attn:  Elaine Lonergan
	
	Date Tested:
	10/11 – 10/12 2018

	400 Frontage Rd
West Haven, CT  06516


	
	Laboratory Report#:
	N1875251-01

	E-Mail:  elonergan@adancedgrowlabs.com
	
	Report Date:
	10/12/2018

	
	
	
	

	Sample Site:
	Advanced Grow Labs
· 400 Frontage Rd.,  West Haven CT

	Date  Collected:
	09/28/2018   11:23      Collected by:  W. Clark of NELabs

	Laboratory ID #:
	1875251-01

	Product Description:
	HC-F9H2-180928-SH


	HEAVY METALS:
	
	
	
	

	Parameter
	Result
	Units
	
	Limits

	Arsenic, Total
	<0.0005
	µg/kg BW/day
	PASS
	<0.14

	Cadmium, Total
	<0.002
	µg/kg BW/day
	PASS
	<0.09

	Lead, Total
	<0.002
	µg/kg BW/day
	PASS
	<0.29

	Mercury, Total
	<0.005
	µg/kg BW/day
	PASS
	<0.29


Daily Dose:
1 gram
Body Weight:
50 kilograms
METHODS:
USP <232> and <233> (Modified)




AOAC  986.15,  935.50,  971.21




FCC 7,  Appendix 3

LIMITS:  per American Herbal Pharmacopoeia (2013)

PASS =  Product meets Heavy Metals Recommended Limits 

per American Herbal Pharmacopoeia  (2013)

Comments:

· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  09/28/2018
Approved  By:[image: image2.jpg]@MCM




Alan C. Johnson,  Laboratory Director

Report To:

	ADVANCED GROW  LABS
	
	Date Received:
	09/28/2018

	Attn:  Elaine Lonergan
	
	Date Tested:
	10/01 & 10/03 2018

	400 Frontage Rd
West Haven, CT  06516


	
	Laboratory Report#:
	N1875251-01

	E-Mail:  elonergan@adancedgrowlabs.com
	
	Report Date:
	10/12/2018

	
	
	
	

	Sample Site:
	Advanced Grow Labs
· 400 Frontage Rd.,  West Haven CT

	Date  Collected:
	09/28/2018   11:23      Collected by:  W. Clark of NELabs

	Laboratory ID #:
	1875251-01

	Product Description:
	HC-F9H2-180928-SH


	TERPENES 

(% Dry Weight)
	Result
	Units

	a-pinene
	<0.01
	%

	b-pirene
	<0.01
	%

	b-myrcene
	<0.01
	%

	limonene
	0.30
	%

	ocimene
	<0.01
	%

	linalool
	0.48
	%

	b-caryophyllene
	0.41
	%

	humulene
	0.07
	%

	
	
	


	Residual Alcohol
	0.43
	%


METHODS:
GC,  GC/MS
Comments:

· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  09/28/2018
Approved  By:[image: image3.jpg]@MCM




Alan C. Johnson, Laboratory Director
Report To:

	ADVANCED GROW  LABS
	
	Date Received:
	09/28/2018

	Attn:  Elaine Lonergan
	
	Date Tested:
	10/10/2018

	400 Frontage Rd
West Haven, CT  06516


	
	Laboratory Report#:
	N1875251-01

	E-Mail:  elonergan@adancedgrowlabs.com
	
	Report Date:
	10/12/2018

	
	
	
	

	Sample Site:
	Advanced Grow Labs
· 400 Frontage Rd.,  West Haven CT

	Date  Collected:
	09/28/2018   11:23      Collected by:  W. Clark of NELabs

	Laboratory ID #:
	1875251-01

	Product Description:
	HC-F9H2-180928-SH


	PESTICIDES  LC  (MS/MS)
	
	
	
	

	Parameter
	Result
	Units
	
	Limits

	Abamectin
	<0.01
	mg/kg
	PASS
	15

	Acequinocyl
	<0.01
	mg/kg
	PASS
	14

	Azadiractin
	<0.01
	mg/kg
	PASS
	60

	Bifenazate
	<0.01
	mg/kg
	PASS
	6

	Bifenthrin
	<0.01
	mg/kg
	PASS
	12

	Chlormequat Chloride
	<0.01
	mg/kg
	PASS
	30

	Cyfluthrin
	<0.01
	mg/kg
	PASS
	12

	Daminozide
	<0.01
	mg/kg
	PASS
	270

	Etoxazole
	<0.01
	mg/kg
	PASS
	24

	Fenoxycarb
	<0.01
	mg/kg
	PASS
	32

	Imazalil
	<0.01
	mg/kg
	PASS
	6

	Imidacloprid
	<0.01
	mg/kg
	PASS
	36

	Myclobutanil
	<0.01
	mg/kg
	PASS
	18

	Paclobutrazol
	<0.01
	mg/kg
	PASS
	13

	Pyrethrum
	<0.01
	mg/kg
	PASS
	3

	Spinosad
	<0.01
	mg/kg
	PASS
	12

	Spiromesifen
	<0.01
	mg/kg
	PASS
	15

	Spirotetramat
	<0.01
	mg/kg
	PASS
	30

	Trifloxystrobin
	<0.01
	mg/kg
	PASS
	60







LOQ = 1.0  µg/kg     LOD = 0.1 µg/kg     

METHODS:
LC – MS/MS   (Restek Method)

LIMITS:  per FAO - WHO

Comments:

· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  09/28/2018
Approved  By:[image: image4.jpg]@MCM




Alan C. Johnson, Laboratory Director

Report To:

	ADVANCED GROW  LABS
	
	Date Received:
	09/28/2018

	Attn:  Elaine Lonergan
	
	Date Tested:
	10/10/2018

	400 Frontage Rd
West Haven, CT  06516


	
	Laboratory Report#:
	N1875251-01

	E-Mail:  elonergan@adancedgrowlabs.com
	
	Report Date:
	10/12/2018

	
	
	
	

	Sample Site:
	Advanced Grow Labs
· 400 Frontage Rd.,  West Haven CT

	Date  Collected:
	09/28/2018   11:23      Collected by:  W. Clark of NELabs

	Laboratory ID #:
	1875251-01

	Product Description:
	HC-F9H2-180928-SH


	MYCOTOXINS
	
	
	
	

	Parameter
	Result
	Units
	
	Limits

	Method:  USP 561-II
	
	
	
	

	Aflatoxin B1
	<5
	µg/kg
	PASS
	5

	Aflatoxin B2
	<5
	µg/kg
	PASS
	5

	Aflatoxin G1
	<5
	µg/kg
	PASS
	5

	Aflatoxin G2
	<5
	µg/kg
	PASS
	5

	
	
	
	
	

	Method:  USP 561-II (Mod)
	
	
	
	

	Ochratoxin-A
	<5
	µg/kg
	PASS
	5

	
	
	
	
	


METHODS:
USP <561>

Articles of Botanical Origin:  Aflatoxins Method 2 (modified for Ochratoxin)

LIMITS:  per American Herbal Pharmacopoeia (2013)

Comments:

· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  09/28/2018
Approved  By:[image: image5.jpg]@MCM




Alan C. Johnson, Laboratory Director

Report To:

	ADVANCED GROW  LABS
	
	Date Received:
	09/28/2018

	Attn:  Elaine Lonergan
	
	Date Tested:
	10/01/2018

	400 Frontage Rd
West Haven, CT  06516


	
	Laboratory Report#:
	N1875251-01

	E-Mail:  elonergan@adancedgrowlabs.com
	
	Report Date:
	10/12/2018

	
	
	
	

	Sample Site:
	Advanced Grow Labs
· 400 Frontage Rd.,  West Haven CT

	Date  Collected:
	09/28/2018   11:23      Collected by:  W. Clark of NELabs

	Laboratory ID #:
	1875251-01

	Product Description:
	HC-F9H2-180928-SH


	
	
	

	CANNABINOIDS  (% weight)
	Result
	Units

	CBDA
	<0.1
	% weight

	CBGA
	2.62
	% weight

	CBG
	<0.1
	% weight

	CBD
	<0.1
	% weight

	CBN
	<0.1
	% weight

	THC
	0.85
	% weight

	CBC
	<0.1
	% weight

	THCA
	82.68
	% weight


METHODS:
HPLC

Comments:

· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  09/28/2018
Approved  By:[image: image6.jpg]@MCM




Alan C. Johnson,  Laboratory Director
Report To:

	ADVANCED GROW  LABS
	
	Date Received:
	09/28/2018

	Attn:  Elaine Lonergan
	
	Date Tested:
	10/01/2018

	400 Frontage Rd

West Haven, CT  06516


	
	Laboratory Report#:
	N1875251-01

	E-Mail:  elonergan@adancedgrowlabs.com
	
	Report Date:
	10/12/2018

	
	
	
	

	Sample Site:
	Advanced Grow Labs

· 400 Frontage Rd.,  West Haven CT

	Date  Collected:
	09/28/2018   11:23      Collected by:  W. Clark of NELabs

	Laboratory ID #:
	1875251-01

	Product Description:
	HC-F9H2-180928-SH


	
	
	

	CANNABINOIDS  (mg per 500mg)
	Result
	Units

	CBDA
	<0.50
	mg per 500mg

	CBGA
	13.10
	mg per 500mg

	CBG
	<0.50
	mg per 500mg

	CBD
	<0.50
	mg per 500mg

	CBN
	<0.50
	mg per 500mg

	THC
	4.25
	mg per 500mg

	CBC
	<0.50
	mg per 500mg

	THCA
	413.40
	mg per 500mg


METHODS:
HPLC

Comments:

· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  09/13/2018
Approved  By:[image: image7.jpg]@MCM




Alan C. Johnson,  Laboratory Director

Report To:

	ADVANCED GROW  LABS
	
	Date Received:
	09/28/2018

	Attn:  Elaine Lonergan
	
	Date Tested:
	10/01/2018

	400 Frontage Rd

West Haven, CT  06516


	
	Laboratory Report#:
	N1875251-01

	E-Mail:  elonergan@adancedgrowlabs.com
	
	Report Date:
	10/12/2018

	
	
	
	

	Sample Site:
	Advanced Grow Labs

· 400 Frontage Rd.,  West Haven CT

	Date  Collected:
	09/28/2018   11:23      Collected by:  W. Clark of NELabs

	Laboratory ID #:
	1875251-01

	Product Description:
	HC-F9H2-180928-SH


	
	
	

	CANNABINOIDS  (mg per 1,000mg)
	Result
	Units

	CBDA
	<1.00
	mg per 1,000mg

	CBGA
	26.20
	mg per 1,000mg

	CBG
	<1.00
	mg per 1,000mg

	CBD
	<1.00
	mg per 1,000mg

	CBN
	<1.00
	mg per 1,000mg

	THC
	8.50
	mg per 1,000mg

	CBC
	<1.00
	mg per 1,000mg

	THCA
	862.80
	mg per 1,000mg


METHODS:
HPLC

Comments:

· Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  09/13/2018
Approved  By:[image: image8.jpg]@MCM




Alan C. Johnson,  Laboratory Director

Northeast Laboratories, Inc.  129 Mill Street Berlin, CT  06037   www.nelabsct.com
Telephone:    860-828-9787      Toll Free (In State) 800-826-0105      (Out of State) 800-654-1230      Fax: 860-829-1050

CT Cert. #PH-0404     EPA Cert. #CT-024     USDA Cert. #0976     FDA Reg. #086650488     CT CSL #0000624
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