# Report To:

| ADVANCED GROW LABS |  |  | Date Received: |  | 02/22/2019 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Attn: Elaine Lonergan |  |  | Date Tested: |  | 02/26/2019 |  |
| 400 Frontage Rd West Haven, CT 06516 |  |  | Laboratory Report#: |  | N1976684-01 |  |
| E-Mail: elonergan@adancedgrowlabs.com |  |  | Report Date: |  | 03/08/2019 |  |
| Sample Site: |  | Advanced Grow Labs - 400 Frontage Rd., West Haven CT |  |  |  |  |
| Date Collected: |  | 02/22/2019 11:15 Collected by: W. Clark of NELabs |  |  |  |  |
| Laboratory ID #: |  | 1976684-01 |  |  |  |  |
| Product Description: |  | CP-F5H8-190222-WX |  |  |  |  |

| Parameter | Result | Units |  | Recommended Limits * |
| --- | --- | --- | --- | --- |
| Total Aerobic Microbial Count | <100 | per gram | PASS | 100,000 |
| Total Yeast & Mold Count | <100 | per gram | PASS | 10,000 |
| Bile Tolerant Gram Negative Bacteria | <100 | per gram | PASS | 1,000 |
| Coliform | <100 | per gram | PASS | 1,000 |
| Enteropathogenic E.coli | Not Detected | per gram | PASS | Not Detected |
| Salmonella species | Not Detected | per gram | PASS | Not Detected |

* RECOMMENDED LIMITS:  per American Herbal Pharmacopoeia (2013)

# PASS =  Product meets Microbial and Fungal Recommended Limits

per American Herbal Pharmacopoeia  (2013)

METHODS:	USP 2021,  USP 2022,   FDA-BAM,  AOAC 996.09

# Comments:

- Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  02/22/2019

# Approved  By:

# Alan C. Johnson,  Laboratory Director

# Report To:

| ADVANCED GROW LABS |  |  | Date Received: |  | 02/22/2019 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Attn: Elaine Lonergan |  |  | Date Tested: |  | 02/26 – 03/05 2019 |  |
| 400 Frontage Rd West Haven, CT 06516 |  |  | Laboratory Report#: |  | N1976684-01 |  |
| E-Mail: elonergan@adancedgrowlabs.com |  |  | Report Date: |  | 03/08/2019 |  |
| Sample Site: |  | Advanced Grow Labs - 400 Frontage Rd., West Haven CT |  |  |  |  |
| Date Collected: |  | 02/22/2019 11:15 Collected by: W. Clark of NELabs |  |  |  |  |
| Laboratory ID #: |  | 1976684-01 |  |  |  |  |
| Product Description: |  | CP-F5H8-190222-WX |  |  |  |  |

| HEAVY METALS: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Parameter | Result | Units |  | Limits |
| Arsenic, Total | <0.0005 | µg/kg BW/day | PASS | <0.14 |
| Cadmium, Total | <0.002 | µg/kg BW/day | PASS | <0.09 |
| Lead, Total | <0.002 | µg/kg BW/day | PASS | <0.29 |
| Mercury, Total | <0.005 | µg/kg BW/day | PASS | <0.29 |

# Daily Dose:	1 gram

Body Weight:	50 kilograms

METHODS:	USP <232> and <233> (Modified)

AOAC  986.15,  935.50,  971.21

FCC 7,  Appendix 3

# LIMITS:  per American Herbal Pharmacopoeia (2013)

# PASS =  Product meets Heavy Metals Recommended Limits

per American Herbal Pharmacopoeia  (2013)

# Comments:

- Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  02/22/2019

# Approved  By:

# Alan C. Johnson,  Laboratory Director

# Report To:

| ADVANCED GROW LABS |  |  | Date Received: |  | 02/22/2019 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Attn: Elaine Lonergan |  |  | Date Tested: |  | 02/26/2019 |  |
| 400 Frontage Rd West Haven, CT 06516 |  |  | Laboratory Report#: |  | N1976684-01 |  |
| E-Mail: elonergan@adancedgrowlabs.com |  |  | Report Date: |  | 03/08/2019 |  |
| Sample Site: |  | Advanced Grow Labs - 400 Frontage Rd., West Haven CT |  |  |  |  |
| Date Collected: |  | 02/22/2019 11:15 Collected by: W. Clark of NELabs |  |  |  |  |
| Laboratory ID #: |  | 1976684-01 |  |  |  |  |
| Product Description: |  | CP-F5H8-190222-WX |  |  |  |  |

| TERPENES (% Dry Weight) | Result | Units |
| --- | --- | --- |
| a-pinene | <0.01 | % |
| b-pirene | <0.01 | % |
| b-myrcene | 0.11 | % |
| limonene | 0.18 | % |
| ocimene | <0.01 | % |
| linalool | 1.52 | % |
| b-caryophyllene | 1.30 | % |
| humulene | 0.43 | % |

| Residual Alcohol | 0.07 | % |
| --- | --- | --- |

METHODS:	GC,  GC/MS

Comments:

- Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  02/22/2019

Approved  By:

Alan C. Johnson, Laboratory Director

# Report To:

| ADVANCED GROW LABS |  |  | Date Received: |  | 02/22/2019 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Attn: Elaine Lonergan |  |  | Date Tested: |  | 02/27 – 03/01 2019 |  |
| 400 Frontage Rd West Haven, CT 06516 |  |  | Laboratory Report#: |  | N1976684-01 |  |
| E-Mail: elonergan@adancedgrowlabs.com |  |  | Report Date: |  | 03/08/2019 |  |
| Sample Site: |  | Advanced Grow Labs - 400 Frontage Rd., West Haven CT |  |  |  |  |
| Date Collected: |  | 02/22/2019 11:15 Collected by: W. Clark of NELabs |  |  |  |  |
| Laboratory ID #: |  | 1976684-01 |  |  |  |  |
| Product Description: |  | CP-F5H8-190222-WX |  |  |  |  |

| PESTICIDES LC (MS/MS) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Parameter | Result |  | Units |  | Limits |
| Abamectin | <0.01 |  | mg/kg | PASS | 15 |
| Acequinocyl | <0.01 |  | mg/kg | PASS | 14 |
| Azadiractin | <0.01 |  | mg/kg | PASS | 60 |
| Bifenazate | <0.01 |  | mg/kg | PASS | 6 |
| Bifenthrin | <0.01 |  | mg/kg | PASS | 12 |
| Chlormequat Chloride | <0.01 |  | mg/kg | PASS | 30 |
| Cyfluthrin | <0.01 |  | mg/kg | PASS | 12 |
| Daminozide | <0.01 |  | mg/kg | PASS | 270 |
| Etoxazole | <0.01 |  | mg/kg | PASS | 24 |
| Fenoxycarb | <0.01 |  | mg/kg | PASS | 32 |
| Imazalil | <0.01 |  | mg/kg | PASS | 6 |
| Imidacloprid | <0.01 |  | mg/kg | PASS | 36 |
| Myclobutanil | <0.01 |  | mg/kg | PASS | 18 |
| Paclobutrazol | <0.01 |  | mg/kg | PASS | 13 |
| Pyrethrum | <0.01 |  | mg/kg | PASS | 3 |
| Spinosad | <0.01 |  | mg/kg | PASS | 12 |
| Spiromesifen | <0.01 |  | mg/kg | PASS | 15 |
| Spirotetramat | <0.01 |  | mg/kg | PASS | 30 |
| Trifloxystrobin | <0.01 |  | mg/kg | PASS | 60 |

LOQ = 1.0  µg/kg     LOD = 0.1 µg/kg

METHODS:	LC – MS/MS   (Restek Method)

# LIMITS:  per FAO - WHO

# Comments:

- Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  02/22/2019

# Approved  By:

# Alan C. Johnson, Laboratory Director

# Report To:

| ADVANCED GROW LABS |  |  | Date Received: |  | 02/22/2019 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Attn: Elaine Lonergan |  |  | Date Tested: |  | 02/27 – 02/28 2019 |  |
| 400 Frontage Rd West Haven, CT 06516 |  |  | Laboratory Report#: |  | N1976684-01 |  |
| E-Mail: elonergan@adancedgrowlabs.com |  |  | Report Date: |  | 03/08/2019 |  |
| Sample Site: |  | Advanced Grow Labs - 400 Frontage Rd., West Haven CT |  |  |  |  |
| Date Collected: |  | 02/22/2019 11:15 Collected by: W. Clark of NELabs |  |  |  |  |
| Laboratory ID #: |  | 1976684-01 |  |  |  |  |
| Product Description: |  | CP-F5H8-190222-WX |  |  |  |  |

| MYCOTOXINS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Parameter | Result |  | Units |  | Limits |
| Method: USP 561-II |  |  |  |  |  |
| Aflatoxin B1 | <5 |  | µg/kg | PASS | 5 |
| Aflatoxin B2 | <5 |  | µg/kg | PASS | 5 |
| Aflatoxin G1 | <5 |  | µg/kg | PASS | 5 |
| Aflatoxin G2 | <5 |  | µg/kg | PASS | 5 |
| Method: USP 561-II (Mod) |  |  |  |  |  |
| Ochratoxin-A | <5 |  | µg/kg | PASS | 5 |

# METHODS:	USP <561>

# Articles of Botanical Origin:  Aflatoxins Method 2 (modified for Ochratoxin)

# LIMITS:  per American Herbal Pharmacopoeia (2013)

# Comments:

- Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  02/22/2019

# Approved  By:

# Alan C. Johnson, Laboratory Director

# Report To:

| ADVANCED GROW LABS |  |  | Date Received: |  | 02/22/2019 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Attn: Elaine Lonergan |  |  | Date Tested: |  | 02/24/2019 |  |
| 400 Frontage Rd West Haven, CT 06516 |  |  | Laboratory Report#: |  | N1976684-01 |  |
| E-Mail: elonergan@adancedgrowlabs.com |  |  | Report Date: |  | 03/08/2019 |  |
| Sample Site: |  | Advanced Grow Labs - 400 Frontage Rd., West Haven CT |  |  |  |  |
| Date Collected: |  | 02/22/2019 11:15 Collected by: W. Clark of NELabs |  |  |  |  |
| Laboratory ID #: |  | 1976684-01 |  |  |  |  |
| Product Description: |  | CP-F5H8-190222-WX |  |  |  |  |

| CANNABINOIDS (% weight) | Result | Units |
| --- | --- | --- |
| CBDA | <0.1 | % weight |
| CBGA | <0.1 | % weight |
| CBG | 0.66 | % weight |
| CBD | <0.1 | % weight |
| CBN | <0.1 | % weight |
| THC | 85.08 | % weight |
| CBC | 0.51 | % weight |
| THCA | 3.82 | % weight |

# METHODS:	HPLC

# Comments:

- Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  02/22/2019

# Approved  By:

# Alan C. Johnson,  Laboratory Director

# Report To:

| ADVANCED GROW LABS |  |  | Date Received: |  | 02/22/2019 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Attn: Elaine Lonergan |  |  | Date Tested: |  | 02/24/2019 |  |
| 400 Frontage Rd West Haven, CT 06516 |  |  | Laboratory Report#: |  | N1976684-01 |  |
| E-Mail: elonergan@adancedgrowlabs.com |  |  | Report Date: |  | 03/08/2019 |  |
| Sample Site: |  | Advanced Grow Labs - 400 Frontage Rd., West Haven CT |  |  |  |  |
| Date Collected: |  | 02/22/2019 11:15 Collected by: W. Clark of NELabs |  |  |  |  |
| Laboratory ID #: |  | 1976684-01 |  |  |  |  |
| Product Description: |  | CP-F5H8-190222-WX |  |  |  |  |

| CANNABINOIDS (mg per 500mg) | Result | Units |
| --- | --- | --- |
| CBDA | <0.50 | mg per 500mg |
| CBGA | <0.50 | mg per 500mg |
| CBG | 3.30 | mg per 500mg |
| CBD | <0.50 | mg per 500mg |
| CBN | <0.50 | mg per 500mg |
| THC | 425.40 | mg per 500mg |
| CBC | 2.55 | mg per 500mg |
| THCA | 19.10 | mg per 500mg |

# METHODS:	HPLC

# Comments:

- Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  02/22/2019

# Approved  By:

# Alan C. Johnson,  Laboratory Director

# Report To:

| ADVANCED GROW LABS |  | Date Received: | 02/22/2019 |
| --- | --- | --- | --- |
| Attn: Elaine Lonergan |  | Date Tested: | 02/24/2019 |
| 400 Frontage Rd West Haven, CT 06516 |  | Laboratory Report#: | N1976684-01 |
| E-Mail: elonergan@adancedgrowlabs.com |  | Report Date: | 03/08/2019 |

| Sample Site: | Advanced Grow Labs - 400 Frontage Rd., West Haven CT |
| --- | --- |
| Date Collected: | 02/22/2019 11:15 Collected by: W. Clark of NELabs |
| Laboratory ID #: | 1976684-01 |
| Product Description: | CP-F5H8-190222-WX |

| CANNABINOIDS (mg per 1,000mg) | Result | Units |
| --- | --- | --- |
| CBDA | <1.00 | mg per 1,000mg |
| CBGA | <1.00 | mg per 1,000mg |
| CBG | 6.60 | mg per 1,000mg |
| CBD | <1.00 | mg per 1,000mg |
| CBN | <1.00 | mg per 1,000mg |
| THC | 850.80 | mg per 1,000mg |
| CBC | 5.10 | mg per 1,000mg |
| THCA | 38.20 | mg per 1,000mg |

# METHODS:	HPLC

# Comments:

- Results are based on sample/s submitted to Northeast Laboratories, Inc. on:  02/22/2019

# Approved  By:

# Alan C. Johnson,  Laboratory Director