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Report To:

	ADVANCED GROW  LABS
	
	Date Received:
	08/27/2019

	Attn:  Elaine Lonergan
	
	Date Tested:
	08/27/2019 

	400 Frontage Rd
West Haven, CT  06516


	
	Laboratory Report#:
	N1978668-04

	E-Mail:  elonergan@adancedgrowlabs.com
	
	Report Date:
	10/01/2019

	
	
	
	

	Sample Site:
	Advanced Grow Labs
· 400 Frontage Rd.,  West Haven CT

	Date  Collected:
	08/27/2019    12:00          Collected by:  E. Cybulski of NELabs

	Laboratory ID #:
	1978668-04

	Product Description:
	LO-F4H20-190827-WX


	Parameter
	Result
	Units
	
	Recommended Limits *

	Total Aerobic Microbial Count 


	<100
	per gram
	PASS
	100,000

	Total Yeast & Mold Count  

	<100
	per gram
	PASS
	10,000

	
	
	
	
	

	Bile Tolerant Gram Negative Bacteria
	<100
	per gram
	PASS
	1,000

	Coliform
	<100
	per gram
	PASS
	1,000

	Enteropathogenic E.coli
	Not Detected
	per gram
	PASS
	Not Detected

	Salmonella species
	Not Detected
	per gram
	PASS
	Not Detected


* RECOMMENDED LIMITS:  per American Herbal Pharmacopoeia (2013)

PASS =  Product meets Microbial and Fungal Recommended Limits 

per American Herbal Pharmacopoeia  (2013)

METHODS:
USP 2021,  USP 2022,   FDA-BAM,  AOAC 996.09

Comments:

· Results are based on sample submitted to Northeast Laboratories, Inc. on:  08/27/2019
Approved  By:[image: image1.jpg]@MCM




Alan C. Johnson,  Laboratory Director

Report To:

	ADVANCED GROW  LABS
	
	Date Received:
	08/27/2019

	Attn:  Elaine Lonergan
	
	Date Tested:
	09/05 – 09/06 2019 

	400 Frontage Rd
West Haven, CT  06516


	
	Laboratory Report#:
	N1978668-04

	E-Mail:  elonergan@adancedgrowlabs.com
	
	Report Date:
	10/01/2019

	
	
	
	

	Sample Site:
	Advanced Grow Labs
· 400 Frontage Rd.,  West Haven CT

	Date  Collected:
	08/27/2019    12:00          Collected by:  E. Cybulski of NELabs

	Laboratory ID #:
	1978668-04

	Product Description:
	LO-F4H20-190827-WX


	HEAVY METALS:
	
	
	
	

	Parameter
	Result
	Units
	
	Limits

	Arsenic, Total
	<0.0005
	µg/kg BW/day
	PASS
	<0.14

	Cadmium, Total
	<0.007
	µg/kg BW/day
	PASS
	<0.09

	Lead, Total
	<0.25
	µg/kg BW/day
	PASS
	<0.29

	Mercury, Total
	<0.005
	µg/kg BW/day
	PASS
	<0.29


Daily Dose:
1 gram
Body Weight:
50 kilograms
METHODS:
USP <232> and <233> (Modified)




AOAC  986.15,  935.50,  971.21




FCC 7,  Appendix 3

LIMITS:  per American Herbal Pharmacopoeia (2013)

PASS =  Product meets Heavy Metals Recommended Limits 

per American Herbal Pharmacopoeia  (2013)

Comments:

· Results are based on sample submitted to Northeast Laboratories, Inc. on:  08/27/2019
Approved  By:[image: image2.jpg]@MCM




Alan C. Johnson,  Laboratory Director

Report To:

	ADVANCED GROW  LABS
	
	Date Received:
	08/27 & 09/24 2019

	Attn:  Elaine Lonergan
	
	Date Tested:
	08/28 & 09/25 2019 

	400 Frontage Rd
West Haven, CT  06516


	
	Laboratory Report#:
	N1978668-04

	E-Mail:  elonergan@adancedgrowlabs.com
	
	Report Date:
	10/01/2019

	
	
	
	

	Sample Site:
	Advanced Grow Labs
· 400 Frontage Rd.,  West Haven CT

	Date  Collected:
	08/27/2019  &  09/24/2019           Collected by:  E. Cybulski of NELabs

	Laboratory ID #:
	1978668-04 / 1979013-04

	Product Description:
	LO-F4H20-190827-WX


	TERPENES 

(% Dry Weight)
	Result
	Units

	a-pinene
	<0.1
	%

	b-pinene
	<0.1
	%

	b-myrcene
	<0.1
	%

	limonene
	<0.1
	%

	ocimene
	<0.1
	%

	linalool
	0.11
	%

	b-caryophyllene
	1.16
	%

	humulene
	0.28
	%

	a-bisabolol
	0.14
	%


	Residual Alcohol
	0.31
	%


METHODS:
GC,  GC/MS
Comments:

· Results are based on sample submitted to Northeast Laboratories, Inc. on:  08/27 & 09/24 2019
Approved  By:[image: image3.jpg]@MCM




Alan C. Johnson, Laboratory Director
Report To:

	ADVANCED GROW  LABS
	
	Date Received:
	08/27/2019

	Attn:  Elaine Lonergan
	
	Date Tested:
	08/28 – 08/30 2019 

	400 Frontage Rd
West Haven, CT  06516


	
	Laboratory Report#:
	N1978668-04

	E-Mail:  elonergan@adancedgrowlabs.com
	
	Report Date:
	10/01/2019

	
	
	
	

	Sample Site:
	Advanced Grow Labs
· 400 Frontage Rd.,  West Haven CT

	Date  Collected:
	08/27/2019    12:00          Collected by:  E. Cybulski of NELabs

	Laboratory ID #:
	1978668-04

	Product Description:
	LO-F4H20-190827-WX


	PESTICIDES  LC  (MS/MS)
	
	
	
	

	Parameter
	Result
	Units
	
	Limits

	Bifenazate
	<0.01
	mg/kg
	PASS
	6

	Bifenthrin
	<0.01
	mg/kg
	PASS
	12

	Cyfluthrin
	<0.01
	mg/kg
	PASS
	12

	Etoxazole
	<0.01
	mg/kg
	PASS
	24

	Imazalil
	<0.01
	mg/kg
	PASS
	6

	Imidacloprid
	<0.01
	mg/kg
	PASS
	36

	Myclobutanil
	<0.01
	mg/kg
	PASS
	18

	Pyrethrum
	<0.01
	mg/kg
	PASS
	3

	Spiromesifen
	<0.01
	mg/kg
	PASS
	15

	Trifloxystrobin
	<0.01
	mg/kg
	PASS
	60







LOQ = 1.0  µg/kg     LOD = 0.1 µg/kg     

METHODS:
LC – MS/MS   (Restek Method)

LIMITS:  per FAO - WHO

Comments:

· Results are based on sample submitted to Northeast Laboratories, Inc. on:  08/27/2019
Approved  By:[image: image4.jpg]@MCM




Alan C. Johnson, Laboratory Director

Report To:

	ADVANCED GROW  LABS
	
	Date Received:
	08/27/2019

	Attn:  Elaine Lonergan
	
	Date Tested:
	08/28 – 09/04 2019 

	400 Frontage Rd
West Haven, CT  06516


	
	Laboratory Report#:
	N1978668-04

	E-Mail:  elonergan@adancedgrowlabs.com
	
	Report Date:
	10/01/2019

	
	
	
	

	Sample Site:
	Advanced Grow Labs
· 400 Frontage Rd.,  West Haven CT

	Date  Collected:
	08/27/2019    12:00          Collected by:  E. Cybulski of NELabs

	Laboratory ID #:
	1978668-04

	Product Description:
	LO-F4H20-190827-WX


	MYCOTOXINS
	
	
	
	

	Parameter
	Result
	Units
	
	Limits

	Method:  USP 561-II
	
	
	
	

	Aflatoxin B1
	<5
	µg/kg
	PASS
	5

	Aflatoxin B2
	<5
	µg/kg
	PASS
	5

	Aflatoxin G1
	<5
	µg/kg
	PASS
	5

	Aflatoxin G2
	<5
	µg/kg
	PASS
	5

	
	
	
	
	

	Method:  USP 561-II (Mod)
	
	
	
	

	Ochratoxin-A
	<5
	µg/kg
	PASS
	5

	
	
	
	
	


METHODS:
USP <561>

Articles of Botanical Origin:  Aflatoxins Method 2 (modified for Ochratoxin)

LIMITS:  per American Herbal Pharmacopoeia (2013)

Comments:

· Results are based on sample submitted to Northeast Laboratories, Inc. on:  08/27/2019
Approved  By:[image: image5.jpg]@MCM




Alan C. Johnson, Laboratory Director

Report To:

	ADVANCED GROW  LABS
	
	Date Received:
	08/27/2019

	Attn:  Elaine Lonergan
	
	Date Tested:
	08/28/2019 

	400 Frontage Rd
West Haven, CT  06516


	
	Laboratory Report#:
	N1978668-04

	E-Mail:  elonergan@adancedgrowlabs.com
	
	Report Date:
	10/01/2019

	
	
	
	

	Sample Site:
	Advanced Grow Labs
· 400 Frontage Rd.,  West Haven CT

	Date  Collected:
	08/27/2019    12:00          Collected by:  E. Cybulski of NELabs

	Laboratory ID #:
	1978668-04

	Product Description:
	LO-F4H20-190827-WX


	
	
	

	CANNABINOIDS  (% weight)
	Result
	Units

	THCA
	19.31
	% weight

	THC
	5.08
	% weight

	CBDA
	53.15
	% weight

	CBD
	5.67
	% weight

	CBGA
	1.97
	% weight

	CBG
	<0.1
	% weight

	CBN
	<0.1
	% weight

	CBC
	<0.1
	% weight


METHODS:
HPLC

Comments:

· Results are based on a sample submitted to Northeast Laboratories, Inc. on:  08/27/2019
Approved  By:[image: image6.jpg]@MCM




Alan C. Johnson,  Laboratory Director
Report To:

	ADVANCED GROW  LABS
	
	Date Received:
	08/27/2019

	Attn:  Elaine Lonergan
	
	Date Tested:
	08/28/2019 

	400 Frontage Rd
West Haven, CT  06516


	
	Laboratory Report#:
	N1978668-04

	E-Mail:  elonergan@adancedgrowlabs.com
	
	Report Date:
	10/01/2019


	Sample Site:
	Advanced Grow Labs
· 400 Frontage Rd.,  West Haven CT

	Date  Collected:
	08/27/2019    12:00          Collected by:  E. Cybulski of NELabs

	Laboratory ID #:
	1978668-04

	Product Description:
	LO-F4H20-190827-WX


	
	
	

	CANNABINOIDS  (mg per 500mg)
	Result
	Units

	THCA
	96.55
	mg per 500mg

	THC
	25.40
	mg per 500mg

	CBDA
	265.75
	mg per 500mg

	CBD
	28.35
	mg per 500mg

	CBGA
	9.85
	mg per 500mg

	CBG
	<0.50
	mg per 500mg

	CBN
	<0.50
	mg per 500mg

	CBC
	<0.50
	mg per 500mg


METHODS:
HPLC

Comments:

· Results are based on sample submitted to Northeast Laboratories, Inc. on:  08/27/2019
Approved  By:[image: image7.jpg]@MCM




Alan C. Johnson,  Laboratory Director

Report To:

	ADVANCED GROW  LABS
	
	Date Received:
	08/27/2019

	Attn:  Elaine Lonergan
	
	Date Tested:
	08/28/2019 

	400 Frontage Rd
West Haven, CT  06516


	
	Laboratory Report#:
	N1978668-04

	E-Mail:  elonergan@adancedgrowlabs.com
	
	Report Date:
	10/01/2019


	Sample Site:
	Advanced Grow Labs
· 400 Frontage Rd.,  West Haven CT

	Date  Collected:
	08/27/2019    12:00          Collected by:  E. Cybulski of NELabs

	Laboratory ID #:
	1978668-04

	Product Description:
	LO-F4H20-190827-WX


	
	
	

	CANNABINOIDS  (mg per 1,000mg)
	Result
	Units

	THCA
	193.10
	mg per 1,000mg

	THC
	50.80
	mg per 1,000mg

	CBDA
	531.50
	mg per 1,000mg

	CBD
	56.70
	mg per 1,000mg

	CBGA
	19.70
	mg per 1,000mg

	CBG
	<1.00
	mg per 1,000mg

	CBN
	<1.00
	mg per 1,000mg

	CBC
	<1.00
	mg per 1,000mg


METHODS:
HPLC

Comments:

· Results are based on sample submitted to Northeast Laboratories, Inc. on:  08/27/2019
Approved  By:[image: image8.jpg]@MCM




Alan C. Johnson,  Laboratory Director

Northeast Laboratories, Inc.  129 Mill Street Berlin, CT  06037   www.nelabsct.com
Telephone:    860-828-9787      Toll Free (In State) 800-826-0105      (Out of State) 800-654-1230      Fax: 860-829-1050

CT Cert. #PH-0404     EPA Cert. #CT-024     USDA Cert. #0976     FDA Reg. #086650488     CT CSL #0000624
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