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Report To:

	Curaleaf LLC
	
	Date Received:
	10/29 & 11/06 2019

	Attn:  Victoria Gill
	
	Date Tested:
	10/29 & 11/06 2019

	100 Grist Mill Rd.
Simsbury, CT  06070


	
	Laboratory Report#:
	N1979384-01

	E-Mail:  tori@curaleaf.com
	
	Report Date:
	11/15/2019

	
	
	
	

	Sample Site:
	Curaleaf
· 100 Grist Mill Rd,  Simsbury CT

	Date  Collected:
	10/29/2019  &  11/06/2019 
Collected by:  W. Clark of NELabs

	Laboratory ID #:
	1979384-01 / 1979468-06

	Product Description:
	1910190F2 – SN 


	Parameter
	Result
	Units
	
	Recommended Limits *

	Total Aerobic Microbial Count
	42,000
	per gram
	PASS
	100,000

	Total Yeast & Mold Count 
(11/6 re-test)
	<100
	per gram
	PASS
	10,000

	
	
	
	
	

	Bile Tolerant Gram Negative Bacteria
	<100
	per gram
	PASS
	1,000

	Coliform
	<100
	per gram
	PASS
	1,000

	Enteropathogenic E.coli
	Not Detected
	per gram
	PASS
	Not Detected

	Salmonella species
	Not Detected
	per gram
	PASS
	Not Detected


* RECOMMENDED LIMITS:  per American Herbal Pharmacopoeia (2013)

PASS =  Product meets Microbial and Fungal Recommended Limits 

per American Herbal Pharmacopoeia  (2013)

METHODS:
USP 2021,  USP 2022,   FDA-BAM,  AOAC 996.09

Comments:

· Results are based on a sample submitted to Northeast Laboratories, Inc. on:  10/29 & 11/06 2019
Approved  By:[image: image1.jpg]@MCM




Alan C. Johnson,  Laboratory Director

Report To:

	Curaleaf LLC
	
	Date Received:
	10/29/2019

	Attn:  Victoria Gill
	
	Date Tested:
	10/31 – 11/01 2019

	100 Grist Mill Rd.

Simsbury, CT  06070


	
	Laboratory Report#:
	N1979384-01

	E-Mail:  tori@curaleaf.com
	
	Report Date:
	11/15/2019

	
	
	
	

	Sample Site:
	Curaleaf
· 100 Grist Mill Rd,  Simsbury CT

	Date  Collected:
	10/29/2019     13:34
Collected by:  W. Clark of NELabs

	Laboratory ID #:
	1979384-01

	Product Description:
	1910190F2 – SN 


	HEAVY METALS:
	
	
	
	

	Parameter
	Result
	Units
	
	Limits

	Arsenic, Total
	<0.0005
	µg/kg BW/day
	PASS
	<0.14

	Cadmium, Total
	<0.007
	µg/kg BW/day
	PASS
	<0.09

	Lead, Total
	<0.25
	µg/kg BW/day
	PASS
	<0.29

	Mercury, Total
	<0.005
	µg/kg BW/day
	PASS
	<0.29


Daily Dose:
1 gram
Body Weight:
50 kilograms
METHODS:
USP <232> and <233> (Modified)




AOAC  986.15,  935.50,  971.21




FCC 7,  Appendix 3

LIMITS:  per American Herbal Pharmacopoeia (2013)

PASS =  Product meets Heavy Metals Recommended Limits 

per American Herbal Pharmacopoeia  (2013)

Comments:

· Results are based on a sample submitted to Northeast Laboratories, Inc. on:  10/29/2019
Approved  By:[image: image2.jpg]@MCM




Alan C. Johnson,  Laboratory Director

Report To:

	Curaleaf LLC
	
	Date Received:
	10/29/2019

	Attn:  Victoria Gill
	
	Date Tested:
	11/01/2019

	100 Grist Mill Rd.

Simsbury, CT  06070


	
	Laboratory Report#:
	N1979384-01

	E-Mail:  tori@curaleaf.com
	
	Report Date:
	11/15/2019

	
	
	
	

	Sample Site:
	Curaleaf
· 100 Grist Mill Rd,  Simsbury CT

	Date  Collected:
	10/29/2019     13:34
Collected by:  W. Clark of NELabs

	Laboratory ID #:
	1979384-01

	Product Description:
	1910190F2 – SN 


	EXPANDED TERPENES 

(% Dry Weight)
	Result
	Units

	a-pinene
	---
	%

	camphene
	<0.1
	%

	b-pinene
	0.45
	%

	b-myrcene
	---
	%

	3-carene
	---
	%

	a-terpinene
	---
	%

	p-cymene
	---
	%

	limonene
	0.45
	%

	ocimene
	---
	%

	y-terpinene
	---
	%

	terpinolene
	---
	%

	linalool
	0.17
	%

	(-)isopulegol
	---
	%

	geraniol
	---
	%

	b-caryophyllene
	0.23
	%

	humulene
	<0.1
	%

	cis-nerolidol
	---
	%

	trans-nerolidol
	---
	%

	guaiol
	---
	%

	a-bisabolol
	---
	%


METHODS:
GC,  GC/MS
Comments:

· Results are based on a sample submitted to Northeast Laboratories, Inc. on:  10/29/2019
Approved  By:[image: image3.jpg]@MCM




Alan C. Johnson, Laboratory Director
Report To:

	Curaleaf LLC
	
	Date Received:
	10/29/2019

	Attn:  Victoria Gill
	
	Date Tested:
	10/29 – 11/07 2019

	100 Grist Mill Rd.

Simsbury, CT  06070


	
	Laboratory Report#:
	N1979384-01

	E-Mail:  tori@curaleaf.com
	
	Report Date:
	11/15/2019

	
	
	
	

	Sample Site:
	Curaleaf
· 100 Grist Mill Rd,  Simsbury CT

	Date  Collected:
	10/29/2019     13:34
Collected by:  W. Clark of NELabs

	Laboratory ID #:
	1979384-01

	Product Description:
	1910190F2 – SN 


	PESTICIDES  LC  (MS/MS)
	
	
	
	

	Parameter
	Result
	Units
	
	Limits

	Bifenazate
	<0.01
	mg/kg
	PASS
	6

	Bifenthrin
	<0.01
	mg/kg
	PASS
	12

	Cyfluthrin
	<0.01
	mg/kg
	PASS
	12

	Etoxazole
	<0.01
	mg/kg
	PASS
	24

	Imazalil
	<0.01
	mg/kg
	PASS
	6

	Imidacloprid
	<0.01
	mg/kg
	PASS
	36

	Myclobutanil
	<0.01
	mg/kg
	PASS
	18

	Pyrethrum
	<0.01
	mg/kg
	PASS
	3

	Spiromesifen
	<0.01
	mg/kg
	PASS
	15

	Trifloxystrobin
	<0.01
	mg/kg
	PASS
	60







LOQ = 1.0  µg/kg     LOD = 0.1 µg/kg     

METHODS:
LC – MS/MS   (Restek Method)

LIMITS:  per FAO - WHO

Comments:

· Results are based on a sample submitted to Northeast Laboratories, Inc. on:  10/29/2019
Approved  By:[image: image4.jpg]@MCM




Alan C. Johnson, Laboratory Director

Report To:

	Curaleaf LLC
	
	Date Received:
	10/29/2019

	Attn:  Victoria Gill
	
	Date Tested:
	10/30 – 11/04 2019

	100 Grist Mill Rd.

Simsbury, CT  06070


	
	Laboratory Report#:
	N1979384-01

	E-Mail:  tori@curaleaf.com
	
	Report Date:
	11/15/2019

	
	
	
	

	Sample Site:
	Curaleaf
· 100 Grist Mill Rd,  Simsbury CT

	Date  Collected:
	10/29/2019     13:34
Collected by:  W. Clark of NELabs

	Laboratory ID #:
	1979384-01

	Product Description:
	1910190F2 – SN 


	MYCOTOXINS
	
	
	
	

	Parameter
	Result
	Units
	
	Limits

	Method:  USP 561-II
	
	
	
	

	Aflatoxin B1
	<5
	µg/kg
	PASS
	5

	Aflatoxin B2
	<5
	µg/kg
	PASS
	5

	Aflatoxin G1
	<5
	µg/kg
	PASS
	5

	Aflatoxin G2
	<5
	µg/kg
	PASS
	5

	
	
	
	
	

	Method:  USP 561-II (Mod)
	
	
	
	

	Ochratoxin-A
	<5
	µg/kg
	PASS
	5

	
	
	
	
	


METHODS:
USP <561>

Articles of Botanical Origin:  Aflatoxins Method 2 (modified for Ochratoxin)

LIMITS:  per American Herbal Pharmacopoeia (2013)

Comments:

· Results are based on a sample submitted to Northeast Laboratories, Inc. on:  10/29/2019
Approved  By:[image: image5.jpg]@MCM




Alan C. Johnson, Laboratory Director

Report To:

	Curaleaf LLC
	
	Date Received:
	11/06/2019

	Attn:  Victoria Gill
	
	Date Tested:
	11/11/2019

	100 Grist Mill Rd. 

Simsbury, CT  06070


	
	Laboratory Report#:
	N1979384-01

	E-Mail:  tori@curaleaf.com
	
	Report Date:
	11/15/2019

	
	
	
	

	Sample Site:
	Curaleaf
· 100 Grist Mill Rd,  Simsbury CT

	Date  Collected:
	11/06/2019     10:26
Collected by:  W. Clark of NELabs

	Laboratory ID #:
	1979468-06

	Product Description:
	1910190F2 – SN 


	
	
	

	CANNABINOIDS  (% weight)
	Result
	Units

	CBDV
	----
	% weight

	CBDA
	----
	% weight

	CBGA
	0.42
	% weight

	CBG
	----
	% weight

	CBD
	----
	% weight

	THCV
	----
	% weight

	CBN
	----
	% weight

	THC
	0.10
	% weight

	CBC
	----
	% weight

	THCA
	27.15
	% weight


METHODS:
HPLC

Comments:

· Results are based on a sample submitted to Northeast Laboratories, Inc. on:  11/06/2019
Approved  By:[image: image6.jpg]@MCM




Alan C. Johnson,  Laboratory Director
Northeast Laboratories, Inc.  129 Mill Street Berlin, CT  06037   www.nelabsct.com
Telephone:    860-828-9787      Toll Free (In State) 800-826-0105      (Out of State) 800-654-1230      Fax: 860-829-1050

CT Cert. #PH-0404     EPA Cert. #CT-024     USDA Cert. #0976     FDA Reg. #086650488     DEA Reg.:  Federal #RN0281852 + CT #624
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